## Slide 1
16-09-2024
1
HOSPITAL PHARMACY
UNIT 5: HOSPITAL PHARMACY SEVICES

## Slide 2
Selection of Staff for CSSR:
Staffing is difficult in view of the fact that most applicants have not had experience.
Must receive on –the –job training.
On-the-job training programme is time consuming and varies from hospital to hospital.
It is also costly to the institutions.
The pharmacist director of the CSSR undertake a technician training programme.
Pharmacist must train:
1. Principles of sterilization, monitoring and operation of autoclaves, gas sterilizers and aerators.
2. Identification of surgical instruments.
3. Assembling and disassembling of trays, equipments etc.,
CENTRAL STERILE SUPPLY SERVICES (CSSS) – ROLE OF PHARMACIST

## Slide 3
4. Decontamination, basic bacteriology and biology testing.
5. Material handling aspect of CSSR.
Material handling aspects of the CSSR operation should be coordinated with department of pharmacy, purchasing and distribution.
Duplication of services will be eliminated.
Management of CSSD:
It is very important to decide whether CSSD should be under operation supervisors and nurses or pharmacists.
Pharmacist should acquire following qualifications:
1. Pharmacist should have the knowledge of bacteriology, principles of sterilization, accounting and management.

## Slide 4
2. Pharmacist should have the knowledge of use of all sterile products to be dispensed.
Location of CSSD:
Should be located at central place in order to make maximum use of its services.
Able to receive linen from laundry, surgical dressings from store room and large shipments of sterile and irrigating solutions from the pharmacy.
If such a location is not possible, then suitable conveyor must be used.
CSSD should be located preferably near the pharmacy; supervision and administration.
If pharmacy and CSSR are to be combined, then 2 units should be physically combined or adjacent to one another.
There can be closer supervision of the personnel and consolidation of duties.

## Slide 5
B) Planning of CSSD in the Hospital:
Pharmacist has to design the departmental facilities and infrastructure.
Plan the requirements of space, personnel, building material, staff, equipments, furniture, etc…
Planning committee may be constituted and should consists of heads of various user departments.
Plan depends on the functions that the CSSD is supposed to perform.
Guidelines:
Determine the objectives of the department:
1. Department will be responsible for CSSS – nursing, pharmacy or stores.
2. Services to be offere:
i. Sterile supplies and equipments.

## Slide 6
ii. Unsterile supplies and equipments.
iii. Apparatus. Examples: Oxygen cylinders, respirators.
3. Departments to be served and the extent of services to be rendered.
Examples: Operation room, nursing station, delivery room, IPD and OPD.
List of items to be processed is prepared and are decided based on the following queries:
1. What items will be purchased readymade by the hospital and what items will be processed by the CSSD.
Examples: Surgical dressings, parenteral solutions, surgical instruments etc
2. Which pharmaceutical preparations are made in the hospital and to be sterilized in CSSD?
3. What will be the frequency of receipts of goods?
4.

## Slide 7
4. What will be the method of distribution by CSSD – dumbwaiter, truck or messenger boys?
5. Which facilities are available for storage of goods?
6. Which sterilizing equipments are available to department?
7. Where is the department is located.
8. What is the size of staff and space available?
C) Basis of Plan:
Planning of space:
Based upon the bed strength and number of patients, the facilities are planned.
Additional space for distribution and waiting area be planned.

## Slide 8
Space requirement depends upon:
- Materials to be used,
- Personnel,
- Machines and equipments used and
- Facilities to be provided for the personnel.
There should be no mosquitos, flies and catering in the working area.
Pest control arrangement should be made.
Space requirements depends upon:
- Material storage space,
- Laboratory for working
- Manufacturing and
- Issuing of goods.

## Slide 9
Storage space requirement is based on:
- Storage conditions of materials.
Fire fighting arrangements, space to facilitate the repairs of immovable machines, space for power, steam, electricity, water, gas pipelines should be planned.
Floor space: 7 sq. ft/bed for 1000 bed hospital