## Slide 1: Gas Chromatography Infrared Spectrometry (GC/IR)
Instrumentation/Interface
Infrared Spectrophotometer determines the relative strengths and positions of the infrared region and plots the information on calibrated paper
Gas Chromatograph partitions the sample as it passes through the column
The two can be linked through glass column or vacuum tubes and other devices on more expensive equipment

## Slide 2: Gas Chromatography / Infrared Spectrometry
Capillary GC with IR specs can enable the separation and identifying the compounds
The interface between the column and the detector is the main detail
Small pipe (length 10-40 cm, diameter 1-3 mm) connected to column by narrow tubing
Transmission of radiation occurs by multiple reflection off the wall

## Slide 3: GC/ IR
Light pipe is heated in order to rid condensation and maximize path length for enhanced sensitivity
This also minimizes the dead volume to lessen band broadening
Detector - highly sensitivity, liquid nitrogen cooled
Scanning is started and a brief delay is needed for compound to travel form the detector region to the IR cell

## Slide 4: More on General GCIR
Very sensitive
very expensive
sample recovery
Practical Uses
Pharmaceutical
Industrial
DNA Analysis of blood samples, other fluids
many others

## Slide 6: White-light interferometry
 ( )  k( )D
Photonic band dispersion
   (k )
v
g
 d  D dk d / d
Group velocity
Fourier-transform Spectrometer
Mach-Zehnder Interferometer

## Slide 9: Interferometric determination of the anisotropic refractive index dispersion of poly-(p-phenylene-vinylene)
0
100
200
300
400
||

6000 8000 10000 12000 14000 16000 18000 20000
Wavenumber (cm-1)
500 1.0
Phase shift (rad)
8000
10000 12000
14000
16000
0.0
Fringes intensity (arb.units)
-1
Wavenumber (cm )
7000
7500
0.0
(b)
(c)
(a)
13000
13500
d=15.0 m
d=15.1 m
3.8
3.6
3.4
3.2
3.0
2.8
2.6
2.4
2.2
2.0
1.8
1.6
||

6000 8000 10000 12000 14000 16000 18000 20000
Wavenumber (cm-1)
refractive index
0.0
0.2
0.4
0.6
0.8

||
6000 8000 10000 12000 14000 16000 18000 20000
Wavenumber (cm-1)
Transmittance

## Slide 10: Misura del ritardo di fase con Interferometro di Mach-Zehnder
Esperimento e Teoria (Andreani)
Curve di dispersione dei modi di propagazione della luce in strutture fotoniche
Rallentamentodelle v2elocitdà n  1 L   k d

Velocità superluminali all’interno del “gap fotonico”

## Slide 11: Porous Silicon coupled
0.2
0.4
0.6
0.8
1.0
35
36
37
38
39
40
Transmittance
Wavelength (nm)
Phase ( rad)
  
0.0 34
1460 1480 1500 1520 1540 1560 1460
1480 1500 1520 1540 1560
0
5
10
15
20
25
wavelength (nm)
c/v
g
Layer sequence: 6.5AB-AA-6.5AB-AA -6.5AB-AA -6.5AB-AA -6.5AB
microcavities
A B
slow-light
Superluminal group velocity!
fast-light
Ghulinyan et al. Appl. Phys. Lett. 88, 241103 2006
Low index High index