Laminar air flow

laminar flow is defined as airflow in which entire body of air within a designated space is uniform in both velo city and direction.

it is a flow taking place along constant stream  lines without turbulent .

the most important part of laminar air flow hood is a high efficiency particular air [HEPA] filter. Room air is taken into the unit and passed through a pre filter to remove gross contamination like lint ,dust etc.

Type of laminar air flow equipment

There are two type of laminar air flow –

- Horizontal laminar flow

- Vertical laminar flow

Both horizontal and Vertical laminar air flow are usesd in microbiological and pharmaceutical lab .

PICTURE [ DIAGRAM]

Laminar flow cabinets may have a UVC germicidal lamp to sterilize the interior and contents before usage to prevent contamination of experiment .

Uses

- They are commonly used for specialized work and are also ideal for general lab work especially in the medical , pharmaceutical etc .

- Preparing filling and packing of parentrals transfer of culture , aseptic process .